Meeting Minutes- 3/12/08

Meeting called to order 6:04

Mike Reggio, Matt Alfond, Fred Stacy, Jim Mullins in attendance

Linda Sanders, John MacMillan- Architect also present

Meeting Minutes- 2/12 approved- Unanimous

Meeting Minutes- 2/26 deferred for a quorum due to Jim Stacy’s absence

John MacMillan presented update on program plans and space needs assessment.

4 Options

- New Combined facility

- New Combined using a renovated fire station

- Separate facilities- new police; renovated fire

- Police Only facility

Prepared a combined space needs assessment for first option as a guideline

Shared areas presented and highlighted as these areas represent cost savings for the Town over separate facilities (2030 sq. feet); all other space allocations carried forward from our previously scrubbed needs assessments.

Combined facility- build behind existing fire station so as to avoid cost of relocating them during construction

Need site survey

Cost estimates for four options presented.  Costs range from $7.2 to 3.1 million for total project costs.

Recommends another public forum to get feedback for a downselect.

All masonry exterior adds about 100 – 200K

Look at knocking off 1 double bay to save some money?

| Option A Pros and Cons |
| --- |
| Pros | Cons |
| Accommodates needs for 30 – 40 years | Expensive |
| Allows Fire Dept to stay put during construction |  |
| Cost to do this now is less than it will be down the road |  |
| Widest fire apparatus bays of any option- safer for equipment and personnel |  |
| Hydronic heat in floor- saves heating expense |  |

| Option B Pros and Cons |
| --- |
| Pros | Cons |
| Accommodates needs of both departments for 30 – 40 years | Fire department must relocate during construction |
| Reuses the existing fire department structure | Aesthetics not as good as A |
| Somewhat less expensive | Reusing the fire department structure means earlier maintenance activity |
| Combined facility- no redundant space in the building |  |

| Option C Pros and Cons |
| --- |
| Pros | Cons |
| Accommodates needs of both departments for 30 – 40 years | Fire department must relocate during construction |
| Reuses the existing fire department structure | Redundancy of spaces in each building for mechanical equipment and public areas |
| Maintains Fire Department preference for separate facilities | Aesthetics not as good as A |
| Allows for easy expansion of Police station in future |  |

| Option D Pros and Cons |
| --- |
| Pros | Cons |
| Smallest initial expense | Does nothing to address fire department needs |

Will circulate the above for comment electronically and reconvene.

Meeting (internal) on 3/25 @ 7:00; Meet with Jack on 4/2; Target public meeting on 4/16.  Cancel meeting on 3/18.

Meeting adjourned- 9:00

Respectfully submitted,

Matt Alfond