REINHARDT ASS0CIATES
architects . engineers . interior designers
PUBLIC SAFETY FACILITIES FEASIBILITY STUDY ASHBY, MA
PROBABLE BUDGET ESTIMATE OF PROJECT COSTS:
OPTION D:
NEW POLICE FACILITY OPTION
PRELIMINARY FLOOR PLAN: August 18, 2008
March 17, 2008
Revised: August 18, 2008
1. SITE WORK
General site work (allowance) On-Site Domestic Well
On-Site Title V Sanitary System DEP Tight Tank
a. b. c. d.
2. GENERAL RENOVATION/CONSTRUCTION
a. Construct 1-Story conventially framed
6,970 GSF Police Facility @ $220/SF =
Sub Total:
3. CONSTRUCTION FACTORS
a. General Conditions I General Requirements @ 9% Sub Total:
b. Contractor's Overhead & Profit @ 6% =
Sub Total:
c. Design Contingency@ 8% =
Sub-Total:
d. Construction Change Contingency @ 5% = TOTAL PRELIMINARY CONSTRUCTION BUDGET:
4.

Project #07-2027
$ 290,000. 8,000. 
17,000. 12,000.
1,533,400.

167,400.

121.700.
$ 2,149,500. 172.000.
$ 2,321,500. 116.100.
$ 2,437,600.